## Slide 1: Stray Light Analysis GOES-13 Imager
Tim Schmit, ASPB
Tony Schreiner, CIMSS
16-Nov-2010
Introduction
Day 255
Day 257
Day 284

## Slide 2
Band 2, Original – too hot by 50K!
Band 2, Original – too hot by several K!

## Slide 3
Band 2, later image

## Slide 4
Cloud-top Pressure (color-range). Original – too “cloudy” over some regions, but misses other clouds!
Clear Low cloud High Cloud

## Slide 5
Cloud-top Pressure (color-range). Later image.
Clear Low cloud High Cloud

## Slide 6: Stray Light Analysis GOES-13 Imager
Tim Schmit
ASPB
Day 255

## Slide 7
Band 2

## Slide 8
Band 3

## Slide 9
Band 4

## Slide 10
Band 6

## Slide 11
IR bands, Original

## Slide 12
IR bands, Corrected

## Slide 13
IR bands, 15-minutes later

## Slide 14
Band 2, Original

## Slide 15
Band 2, Corrected

## Slide 16
Band 2, later image

## Slide 17
Band 2, difference image (org-eclipse)

## Slide 18
Band 2, difference image (corrected-eclipse)

## Slide 19
Band 2, difference image (org-eclipse) Smaller range.
Band 2 Difference
N=14342
Mean= 4.0K

## Slide 20
Band 2, difference image (corrected-eclipse). Smaller range.
Band 2 Difference
N=14342
Mean= -1.1K

## Slide 21: GOES CTP
GOES Imager Cloud-top pressure (and cloud mask)
During the nighttime, uses the brightness temperature difference between the 4 and 11 micrometer bands.
In general, if the 4 um is colder than the 11 um, than a cloud is assumed.
Also, the 11 um data are compared to a background Sea Surface Temperature.
The 4 um data are not used in the cloud-top pressure determination, just in the cloud mask (cloud/ no cloud).

## Slide 22
Cloud-top Pressure (color-range). Original
Clear Low cloud High Cloud

## Slide 23
Cloud-top Pressure (color-range). Corrected
Clear Low cloud High Cloud

## Slide 24
Cloud-top Pressure (color-range). Eclipse 1
Clear Low cloud High Cloud

## Slide 25
Cloud-top Pressure (color-range). Eclipse 2
Clear Low cloud High Cloud

## Slide 26
Band=2
N=10302
Org Mean= 325.6K
Cor. Mean= 281.0K
Ecl. Mean= 281.2K

## Slide 27
Band 3, Original

## Slide 28
Band 3, Corrected

## Slide 29
Band 3, Eclipse

## Slide 30
Band 3, difference image (org-eclipse)

## Slide 31
Band 3, difference image (corrected-eclipse)

## Slide 32
Band=3
N=10302
Org Mean= 258.6K
Cor. Mean= 249.1K
Ecl. Mean= 254.2K

## Slide 33: Stray Light Analysis GOES-13 Imager
Tim Schmit
ASPB
Day 257

## Slide 34
Band 2

## Slide 35
Band 3

## Slide 36
Band 4

## Slide 37
Band 6

## Slide 38
IR bands, Original – Day 257

## Slide 39
IR bands, Corrected– Day 257

## Slide 40
IR bands, 15-minutes earlier – Day 257

## Slide 41
Cloud-top Pressure (color-range). Original
Clear Low cloud High Cloud

## Slide 42
Cloud-top Pressure (color-range). Corrected
Clear Low cloud High Cloud

## Slide 43
Cloud-top Pressure (color-range). Eclipse 1
Clear Low cloud High Cloud

## Slide 44
Cloud-top Pressure (color-range). Eclipse 2
Clear Low cloud High Cloud

## Slide 45: Stray Light Analysis GOES-13 Imager
Tim Schmit
ASPB
Day 284

## Slide 46
Band 2

## Slide 47
Band 3

## Slide 48
Band 4

## Slide 49
Band 6

## Slide 50
IR bands, Original – Day 284

## Slide 51
IR bands, Corrected – Day 284

## Slide 52
IR bands, 15-min later – Day 284