## Slide 1: Stray Light Analysis GOES-13 Imager Update with Corrected data
Tim Schmit, ASPB
Tony Schreiner, CIMSS
6-January-2011
Introduction
Day 255
Day 257
Day 284

## Slide 2
Band 2, Original – too hot by several K!
Band 2, Original – too hot by 50K!

## Slide 3
Band 2, later image

## Slide 4
Cloud-top Pressure (color-range). Original – too “cloudy” over some regions, but misses other clouds!
Clear Low cloud High Cloud

## Slide 5
Cloud-top Pressure (color-range). Later image.
Clear Low cloud High Cloud

## Slide 6: Stray Light Analysis GOES-13 Imager
Tim Schmit
ASPB
Day 255

## Slide 7
Band 2, Original

## Slide 8
Band 2, Corrected

## Slide 9
Band 2, later image

## Slide 10
Band 2, difference image (org-eclipse)

## Slide 11
Band 2, difference image (org-eclipse). Smaller range.
Band 2 Difference
N=14342
Mean= 4.0K

## Slide 12
Band 2, difference image (corrected-eclipse). Smaller range.
Band 2 Difference
N=14342
Mean= 0.6K

## Slide 13
Band 3, Original

## Slide 14
Band 3, Corrected

## Slide 15
Band 3, Eclipse

## Slide 16
Band 3, difference image (org-eclipse)

## Slide 17
Band 3, difference image (Corrected-eclipse). Smaller range.

## Slide 18
IR bands, Original

## Slide 19
IR bands, Corrected

## Slide 20
IR bands, 15-minutes later

## Slide 21
Band 2

## Slide 22
Band 3

## Slide 23
Band 4

## Slide 24
Band 6

## Slide 25: Stray Light Analysis GOES-13 Imager
Tim Schmit
ASPB
Day 257

## Slide 26
IR bands, Original – Day 257

## Slide 27
IR bands, Corrected– Day 257

## Slide 28
IR bands, 15-minutes earlier – Day 257

## Slide 29
Band 2

## Slide 30
Band 3

## Slide 31
Band 4

## Slide 32
Band 6

## Slide 33: Stray Light Analysis GOES-13 Imager
Tim Schmit
ASPB
Day 284

## Slide 34
IR bands, Original – Day 284

## Slide 35
IR bands, Corrected – Day 284

## Slide 36
IR bands, 15-min later – Day 284

## Slide 37
Band 2

## Slide 38
Band 3

## Slide 39
Band 4

## Slide 40
Band 6