## Slide 1
The Advanced Baseline Imager (ABI) on the GOES-R Series
  Timothy J. Schmit (tim.j.schmit@noaa.gov)
  NOAA/NESDIS/Satellite Applications and Research
Advanced Satellite Products Branch (ASPB)
Madison, WI
UW-Madison
AMS Conference
13th Annual Symposium on New Generation Operational Environmental Satellite Systems
January 23, 2017

## Slide 2: Thanks to…
Mat Gunshor
Brad Pierce
Jaime Daniels
Steve Goodman
Steve Miller and Dan Lindsey
William Straka
GOES-R Program Office
Liz Kline, Kathryn Mozer, Wayne MacKenzie and Matt Seybold
Jordan Gerth
Scott Lindstrom
Steve Wanzong
SSEC data center
Kaba Bah and Joleen Feltz and Jim Nelson and Hong Zhang
Harris and the entire GOES-R team!

## Slide 3: Enhanced True Color

## Slide 4: Outline
Lockheed Martin
Introduction
GOES-16 ABI
  Spectral
  Spatial
  Temporal
Products
Summary

## Slide 5: 1966: ATS-1 launched
Applications Technology Satellite (ATS)-1 was the first geostationary imager, launched 6 December 1966. Imaging instrument designer and SSEC co-founder, Verner E. Suomi, proclaimed, “the clouds move, not the earth”.
11 December 1966
Notes: http://cimss.ssec.wisc.edu/news/geo_image_anniversary.html

## Slide 6: GOES-R Series
  Geostationary Lightning Mapper (GLM)
  Advanced Baseline Imager (ABI)
    3x more spectral bands
    4x spatial resolution
    5x temporal coverage
Space weather and solar imaging instruments
  Space Environment in-Situ Sensor Suite (SEISS)
  Magnetometer
  Solar Ultra-Violet Imager (SUVI)
  Extreme Ultraviolet and X-ray Irradiance Sensors (EXIS)
Next generation of NOAA/NASA geo weather satellites
  R-Series includes 4 satellites (16, S, T, U)
  First launched in Nov 2016
  Represents first major upgrade in over 20 years
Earth-pointing instruments

## Slide 8
Credit: ULA / NOAA

## Slide 9
Credit: Chris Schmidt, CIMSS

## Slide 10: The Advanced Baseline Imager:
ABI Current Imager
Spectral Coverage
16 bands 5 bands
Spatial resolution
0.64 mm Visible 0.5 km Approx. 1 km
Other Visible/near-IR 1.0 km n/a
Bands (>2 mm) 2 km Approx. 4 km
Spatial coverage
Full disk 4 per hour Scheduled (3 hrly)
CONUS 12 per hour ~4 per hour
Mesoscale 2 every 1-min n/a
Visible (reflective bands)
On-orbit calibration Yes No
Notes: The ABI allows more bands, finer spatial resolution, faster refresh rates and on-orbit calibration of all bands!

## Slide 11
Meso-scale box locations are movable
15 min
5 min
1 min
1 min
Central
Scan mode (3) or ‘flex mode’ for the ABI:
- Full disk every 15 minutes + 5 min CONUS
+ 1-min mesoscale sectors (2 locations).
[Scan mode (4) or ‘Continuous Full Disk’ (CFD) is a full disk every 5 min]
Notes: 1-km2 spatial resolution at satellite nadir. Pixel Areas are approximate. Each bin is rounded to the nearest 1km2 until we get to 9.5km2 and then all are binned into the red 10+ area. So the first, dark blue, ring covers pixel areas from 1 to 1.49km2 and is labeled “1”, above 1.5 to below 2.5km2 goes into the next ring and is called “2”, etc. GOES-Test location. PUG CONUS sector. Two meso-scale image sectors shown; these are selectable. The same central lat/lon used for these mesoscales produces a different sized and shaped area for different satellite locations.

## Slide 12: Coverage (Full Disk)

## Slide 13: Coverage (CONUS)

## Slide 14: Coverage (Mesoscale sector)
relocatable

## Slide 15: Coverage (Mesoscale sector)
relocatable

## Slide 16
Default Mesoscale Sector Locations
For both West and East satellite locations

## Slide 17: Outline
GOES-R
Introduction
GOES-16 ABI
  Spectral
  Spatial
  Temporal
Products
Summary

## Slide 18
GOES-R Advanced Baseline Imager (ABI)
  Spectral
    Improved!
  Spatial
    Improved!
  Temporal
    Improved!
Lockheed Martin

## Slide 19
ABI Band | Wavelength (µm) | Wavelength range (µm) | Sub-point pixel spacing (km) | Descriptive Name
1 | 0.47 | 0.45 - 0.49 | 1 | “Blue”
2 | 0.64 | 0.60 - 0.68 | 0.5 | “Red”
3 | 0.864 | 0.847 - 0.882 | 1 | “Veggie”
4 | 1.373 | 1.366 - 1.380 | 2 | “Cirrus”
5 | 1.61 | 1.59 - 1.63 | 1 | “Snow/Ice”
6 | 2.24 | 2.22 -2.27 | 2 | “Cloud Particle Size”
ABI: Bands 1-6 (Visible / NearIR)
Six visible or near visible bands on ABI, one on heritage imager
Notes: Based on Schmit et al, 2017. stars = today’s imager band.

## Slide 20: ABI Spectral Bands (1-6)
Visible
Near-IR

## Slide 21
ABI Band | Wavelength (µm) | Wavelength range (µm) | Sub-point pixel spacing (km) | Descriptive Name
7 | 3.90 | 3.80 - 3.99 | 2 | “Shortwave window”
8 | 6.19 | 5.79 - 6.59 | 2 | “Upper-level Water Vapor”
9 | 6.93 | 6.72 - 7.14 | 2 | “Mid-Level Water Vapor”
10 | 7.34 | 7.24 - 7.43 | 2 | “Lower/Mid-level Water Vapor”
11 | 8.44 | 8.23 - 8.66 | 2 | “Cloud-top Phase”
12 | 9.61 | 9.42 - 9.80 | 2 | “Ozone”
13 | 10.33 | 10.18 - 10.48 | 2 | “Clean longwave window”
14 | 11.21 | 10.82 - 11.60 | 2 | “Longwave window”
15 | 12.29 | 11.83 - 12.75 | 2 | “Dirty longwave window”
16 | 13.28 | 12.99 - 13.56 | 2 | “CO2”
ABI: Bands 7-16 (Infrared)
10 infrared bands on the ABI, four on heritage imager
Notes: Based on Schmit et al, 2017. stars = today’s imager band.

## Slide 22: ABI IR Spectral Bands (7-16)
hot
cool

## Slide 23: Current GOES Spectral Bands (5)
1 VIS
0 NIR
4 IR
VIS
NIR
IRW
CO2
WV
GOES-West

## Slide 24: ABI GOES-16 Spectral Bands (16)
2 VIS
4 NIR
10 IR

## Slide 25: Current GOES Spectral Bands (5)
VIS
NIR
IRW
CO2
1 VIS
0 NIR
4 IR
WV
GOES-East

## Slide 26: ABI Spectral Bands (16)
2 VIS
4 NIR
10 IR

## Slide 43: Spectral (ABI bands 2, 4 and 5)

## Slide 44: Spatial
Both images in own native projection

## Slide 45: Temporal

## Slide 46
Temporal

## Slide 47: Natural vs Enhanced True Color
Epic on DSCOVR (https://epic.gsfc.nasa.gov)

## Slide 48: Full Disk
CIMSS Natural True Color
CIRA Enhanced True Color
No Rayleigh corrections,
no Look Up Tables for green
Rayleigh corrected,
Green via Look Up Tables
Experimental
Notes: http://glossary.ametsoc.org/wiki/Rayleigh_scattering

## Slide 49: Outline
GOES-R / NOAA
Introduction
GOES-16 ABI
  Spectral
  Spatial
  Temporal
Products
Summary

## Slide 50
http://www.goes-r.gov
Notes: The subjects of this GOES-R Baseline products training are the aerosol products boxed in yellow.

## Slide 51
0.64 mm
3.9 mm
6.2 mm
13.3 mm
10.3 mm
11.2 mm
12.3 mm
6.9 mm
7.3 mm
8.4 mm
9.6 mm
0.47 mm
0.86 mm
1.37 mm
1.6 mm
2.2 mm
Simulated ABI Spectral bands (in AWIPS)
GOES-R ABI Imagery simulated at UW via AWG Proxy, processed via the Ground System, acquired via NOAAPort, shown in AWIPS-II (default enhancements)

## Slide 52
Aerosol Optical Depth
Rain Rate
LST
Total Totals
Lifted Index
Showalter
SST
TPW
CAPE
K-index
Aerosol Detection
Cloud Mask
Cloud Top Height
Cloud Top Phase
Cloud Top Pressure
Snow
Simulated ABI (select) Derived Products (in AWIPS)
Using GOES-R ABI Imagery simulated at UW via AWG Proxy, processed via the Ground System, acquired via NOAAPort, in AWIPS-II (default enhancements)

## Slide 53
Cloud Top Phase
DOE-4 Simulated ABI Derived Products

## Slide 54
Cloud Top Height + TPW (Total Precipitable Water)
DOE-4 Simulated ABI Derived Products

## Slide 55: Two Groups of Users of ABI
Direct use:
  Radiances/imagery
    Numerical models
    Forecasters (Civilian, military, private sector, international, etc.)
    Broadcasters
    General public/private sector/Internet
  Derived satellite products
    Numerical models
    Forecasters (Civilian, military, private sector, international, etc.)
    Broadcasters
    General public/private sector/Internet
Users of forecast/services which use data/products
  Basically everyone!

## Slide 56: Outline
GOES-R / NOAA
Introduction
GOES-16 ABI
  Spectral
  Spatial
  Temporal
Products
Summary

## Slide 57: Summary
1. The GOES-R ABI provides mission continuity
2. Better than two times the image navigation quality
3. Three times the number of imaging bands
4. Four times the spatial resolutions
5. Five times the coverage rate
- Special GOES-14 1-min data pathfinder
http://www.goes-r.gov

## Slide 58: GOES Continuity
GOES-2
GOES-1
GOES-3
GOES-4
GOES-5
GOES-6
GOES-7
GOES-8
GOES-10
GOES-9
GOES-11
GOES-12
GOES-13
GOES-14
GOES-15
GOES-16

## Slide 59
Conclusions
GOES-R was launched, became GOES-16 and has begun to send back data.
The ABI on the GOES-R series continues the critical continuity of geostationary imagers and will have huge positive societal impacts, given its improved temporal, spatial, spectral and radiometric attributes.
Impact areas include, but are not limited to: weather, Numerical Weather Prediction, severe weather, hazards (volcanic ash plumes), aviation, environmental (fires), health (smoke), oceanographic, cryosphere, land, etc.
The GOES-R Series is part of a global constellation.
http://www.goes-r.gov

## Slide 60: Thanks to…
Thousands who helped with the ABI on the GOES-R series.
These logos aren’t meant to cover everyone, but represent the contributions of many, from the government, private industry and academia.

## Slide 61: GOES-R Series web site
Lockheed Martin
http://www.goes-r.gov

## Slide 62: Advanced Baseline Imager (ABI)
5
4
3
X
Faster coverage (5-minute full disk vs. 25-minute)
X
Improved spatial resolution
(2 km IR vs. 4 km)
X
More spectral bands (16 on ABI vs. 5 on the current imager)
ABI on GOES-S
Notes: Slide from J. Gerth, CIMSS.