## Slide 1
Example: Atmospheric InfraRed Sounder (AIRS)
Provides data since mid 2002
Temperature and water vapor profiles available globally about once every 12hours
Spatial resolution about 15 km horizontally
Accuracy T : ±1K @ dz=1km
Accuracy RH : ±10% @ dz=1km
Other, similar instruments out there. Data continuity high priority for NOAA and EUMETSAT

## Slide 2
Example: Atmospheric InfraRed Sounder (AIRS)
2378 channels
3.7-15.4 micron
dL/L=1200

## Slide 3
Example: Atmospheric InfraRed Sounder (AIRS)

## Slide 4
Example: Atmospheric InfraRed Sounder (AIRS)