## Slide 1
From Photons to Functions
(for the ABI on the GOES-R series)
  Timothy J. Schmit (tim.j.schmit@noaa.gov)
NOAA/NESDIS/Satellite Applications and Research
Advanced Satellite Products Branch (ASPB), Madison, WI
And lots of other folks, especially Dr. W. Paul Menzel, CIMSS and
Dr. Paul C. Griffith, Harris!
UW-Madison
Training
Kansas City, MO
3 March 2016

## Slide 2: What’s needed on a satellite to monitor convection?
1.
2.
3.
4.
5.
6.
7.
8.
9.

## Slide 3: Radiative Transfer
Classic COMET module
http://cimss.ssec.wisc.edu/goes/comet/radiative_transfer.html

## Slide 4: Radiative Transfer
Classic COMET module
http://cimss.ssec.wisc.edu/goes/comet/radiative_transfer.html

## Slide 5: Radiation Budget

## Slide 6: Earth emitted spectra

## Slide 10
Dr. Paul C. Griffith
2015 EUMETSAT Meteorological Satellite Conference
Toulouse, France, 22 September 2015
Rapid Scan – New Flexibility for Next Generation Geostationary Imaging
This document is not subject to the controls of the International Traffic in Arms Regulations (ITAR) or the Export Administration Regulations (EAR).

## Slide 11: ABI-Class Imager is a Mature Product Line
Supporting three missions:
  GOES-R (ABI), Himawari (AHI), GEO-KOMPSAT-2A (AMI)
Four flight models delivered
  ABI PFM: Integrated on GOES-R spacecraft
  AHI-8: Operating on orbit (Himawari-8)
  ABI FM2: Delivered
  AHI-9: Integrated on Himawari-9 spacecraft
Three more in production at Harris
  ABI FM3, ABI FM4, AMI
Mitsubishi Electric Corporation
Himawari 8
ABI Bench
ABI EMI
ABI TVAC

## Slide 12: ABI’s 2-Mirror Scanner Key to Rapid Scan Capability
Scans parallel to equator without rotating image
  100% scan coverage efficiency
Lowest inertia and power
2x EW and NS mechanical-to-optical motion
Inherently polarization compensating
  At nadir, polarization introduced by reflection off NS scanner is canceled by reflection off of EW scanner
Scan Mirrors
Blackbody
Calibration
Target
Y
(South)
Z (Earth)
X
(East)
Delivers fast slews and accurate slow scans with minimal disturbance

## Slide 13: On-Orbit Operations: Raster Scan vs. Boustrophedonic
Raster scan results in higher quality images
  Constant time interval across swath boundary
Only possible because of Harris’ advanced scanner
  Smooth, fast slews at low power with little spacecraft disturbance
ABI baseline scan rate = 0.024434 rad/s (1.4 degree/s)
  Scan rate can be increased or decreased if different EW ASD is desired
GOES N Imager
Boustrophedonic (“as the ox plows”)
GOES-R ABI
Default = Raster Scan
Capable of boustrophedonic

## Slide 14: Paradigm Shift to Swath-based Image Collection Key to ABI’s Coverage Flexibility
Scan Mode 3 demonstrates ABI’s ability to interleave Full Disk (Earth), regional (CONUS), and local area (Meso) scenes
  Different sizes
  Different locations
  Different repetition intervals
  One instrument
64 scenes and 48 timelines stored on board; updated on orbit
  Seamless transition between timelines requires only one command
30 s
Full Disk Swath
CONUS Swath
Meso Scene

## Slide 15: Scan Mode 3 Timeline (Flex Mode) Delivers Storm Watch Every 30 Seconds
Meso: one every 30 seconds or two at 1 minute intervals each
Scene locations can be changed on the fly (no interruption of timeline)
30 seconds
MISTiC
Full
Disk
Meso
CONUS
Nadir
Vis Star
Spacelook
Blackbody
IR Star
Note: Autonomous spacelook collected with each Full Disk swath

## Slide 16: Scan Mode 4 (Continuous Full Disk) Provides Efficient Image Collection
Scan Mode 4 timeline used when no rapid scan imagery desired
Provides 5 minute update of entire Earth instead of just CONUS
30 seconds
Full
Disk
Maneuvers | Duration | Percentage
Scanning | 276.127 s | 92%
Slewing | 23.873 s | 8%
Total | 300.000 s | 100%
Note: Autonomous spacelook collected with each Full Disk swath

## Slide 17
Dr. Paul C. Griffith
2015 EUMETSAT Meteorological Satellite Conference
Toulouse, France, 23 September 2015
ABI’s Unique Calibration and Validation Capabilities
This document is not subject to the controls of the International Traffic in Arms Regulations (ITAR) or the Export Administration Regulations (EAR).

## Slide 18: ABI Optical Architecture: Simple Solution to Mission Needs
CS
VNIR
0.47, 0.64,
0.865, 1.378,
1.61, 2.25
(170 K†)
S2
MWIR
3.9, 6.185,
6.95, 7.34, 8.5
(60 K)
LWIR
9.61, 10.35,
11.2, 12.3, 13.3
(60 K)
SM1
(NS)
Scan
Mirrors
SM2
(EW)
Exit Pupil
Fold
Mirror
W1
S1
W2
W3
60 K
170 K†
300 K
CS, S2, MWIR
& LWIR FPMs
W3, VNIR FPM
Remaining structure
-Y
FMA
Telescope
+X
-Z
†PFM = 180K
Optical Path

## Slide 19: Detector Selection Capability Provides Operational Redundancy
Select best element in each row
Externally: Line array
Internally: 2D array
Requirement: one operational element per downlinked row per side
detectors
Redundant detectors both by having more columns and another electronics side

## Slide 20: Detector Elements: IFOV, Rows, Columns
Resolution = pixel spacing of final image after resampling
  1 km = 28 μrad
Channels (wavelengths in µm) | Resolution (km) | IFOV (µrad) |  | Rows | Columns
 |  | NS | EW |  | 
0.64 | 0.5 | 10.5 | 12.4 | 1460 | 3
0.47, 0.51, 0.86 | 1 | 22.9 | 22.9 | 676 | 6
1.61, 2.26 | 2 | 42 | 51.5 | 372 | 6
3.9, 6.18, 6.95, 7.34, 8.5, 9.61 | 2 | 47.7 | 51.5 | 332 | 6
10.35, 11.2, 12.3, 13.3 | 2 | 38.1 | 34.3 | 408 | 6
77,400 detector elements total; 7,856 downlinked
Lots more detectors!

## Slide 21: Advanced Imagers Pose Calibration Challenges
Large number of detector elements
  Much more to be calibrated
  Increased risk of striping
Large FOV
  Much larger than traditional vicarious calibration scenes
Greater calibration accuracy expectations
Parameter | Units | Himawari-7 | AHI | Ratio
Channels |  | 5 | 16 | 3.2
Detector Elements: total |  | 24 | 77,400 | 3225
Detector Elements: downlinked |  | 16 | 7,856 | 491
NS FOV: max channel | μrad | 274 | 16,311 | 60
EW FOV: max FPM | μrad | 140 | 33,203 | 237
Harris’ ABI-class imager provides calibration solutions
Lots more detectors!

## Slide 22: Example of Flex Mode Scanning
The ABI may also be operated in a five-minute continuous full disk mode.

## Slide 23: Draft -- GRB SYSTEM
“Downlink”
Level 0
“Re-broadcast”
“Level 1b”
(L-band)
Users
Satellite
Satellite
CDA
Calibrate
Navigation
3. Remap to perfect geo
(Send scaled radiances, etc.)
GRB Local Ingest + Radiance conversion s/w
Archive
Products
Notes: Level 1b is calibrated (to radiances and/or reflectance factor), navigated and remapped data.
Radiance conversion software to for converting the radiances to brightness temperatures (or reflectance) and then to brightness values.

## Slide 24: Swath Overlap
There is over-lap, swath to swath (figure not to scale).
How many swaths in a full disk image?

## Slide 25: From Detectors to Pixels
16 detectors are used to build one pixel (in the fixed grid format)
Similar to the GOES-10 / 12 “XGoHi” remapping

## Slide 26
Operational (GOES-13)
1-min mode (SRSOR from GOES-14)
1-min imagery

## Slide 27
A Glimpse into the Future
Hurricane Sandy from GOES-14 at two temporal resolutions
ABI-like

## Slide 28
http://www.goes-r.gov

## Slide 29: GOES-R ABI Products
Advanced Baseline Imager (ABI)
Aerosol Detection (Including Smoke and Dust) Aerosol Optical Depth (AOD) Clear Sky Masks Cloud and Moisture Imagery Cloud Optical Depth Cloud Particle Size Distribution Cloud Top Height Cloud Top Phase Cloud Top Pressure Cloud Top Temperature Derived Motion Winds Derived Stability Indices Downward Shortwave Radiation: Surface Fire/Hot Spot Characterization Hurricane Intensity Estimation Land Surface Temperature (Skin) Legacy Vertical Moisture Profile Legacy Vertical Temperature Profile Radiances Rainfall Rate/QPE Reflected Shortwave Radiation: TOA Sea Surface Temperature (Skin) Snow Cover Total Precipitable Water Volcanic Ash: Detection and Height
Baseline Products
Advanced Baseline Imager (ABI)
Absorbed Shortwave Radiation: Surface Aerosol Particle Size Aircraft Icing Threat Cloud Ice Water Path Cloud Layers/Heights Cloud Liquid Water Cloud Type Convective Initiation Currents Currents: Offshore Downward Longwave Radiation: Surface Enhanced “V”/Overshooting Top Detection Flood/Standing Water Ice Cover Low Cloud and Fog Ozone Total Probability of Rainfall Rainfall Potential Sea and Lake Ice: Age Sea and Lake Ice: Concentration Sea and Lake Ice: Motion Snow Depth (Over Plains) SO2 Detection Surface Albedo Surface Emissivity Tropopause Folding Turbulence Prediction Upward Longwave Radiation: Surface Upward Longwave Radiation: TOA Vegetation Fraction: Green Vegetation Index Visibility
Future Capabilities
+ others

## Slide 30: GOES-R: Helps provide advanced weather Information to enable collaborative planning and efficient utilization of airspace routes through entire trajectory
Post-flight
Pre-flight
Cloud Classification
Convective Initiation
Cloud & Moisture Imagery
Low Ceiling & Visibility
Overshooting Top
Precipitation
Snow
Cloud Classification, Jet Stream,
Volcanic Ash, Turbulence,
Icing, Winds,
Convective Initiation
Mountain Waves
Imagery
Cloud Top Information
SO2 Detection
Radiances
Cloud Classification
Lightning
Convective Initiation
Low Ceiling & Visibility
Overshooting Top
Icing
Precipitation
Snow
Post-flight observed weather product archives
Fog and Low Stratus
Nowcasting
Convective Initiation
Cloud-Top Cooling
NWP Forecasts
Solar Storms
Initial Slide from T. Carty
Notes: Every Phase of flight
Actionable information
Deice
temp-gallon
Risk average

## Slide 31
LAP from GOES-R AWG (Overview)
Variational iterative physical retrieval flowchart
Regression flowchart

## Slide 32
The sketch map of all ancillary inputs and routines applied in the LAP sounding algorithm. External routines are shown in colored boxes.
LAP from GOES-R AWG (Overview)

## Slide 33
End-to-End product precedence flow of ABI derived products.
The dashed lines represent secondary paths

## Slide 34
Actually 2 products…TPW and CTT

## Slide 35: Bridging the gap between imagery and products
Qualitative
Quantitative
Both
Notes: Right now most views are either qualitative images OR quantitative derived products. How best to combine the strengths?

## Slide 36: http://cimss.ssec.wisc.edu/goesr/proving-ground/geocat_ash
Cordon Caulle
Grimsvotn
Using contours to highlight quantitative product (over RGB)
Pavolonis
Notes: Using contours is one method to “combine” a quantitative product with an RGB.
-June 4
-May 21

## Slide 37
The quantitative assessment of cloud ceiling can be overlaid on top of imagery to make the product more appealing to forecasters.
The ability to contour the IFR and MVFR probabilities will soon be available in AWIPS.
Using contours to highlight quantitative product (over RGB)
Pavolonis
Notes: Using contours is one method to “combine” a quantitative product with an RGB. This case for cloud ceilings.

## Slide 38: Data Release Strategy
Declaration of Maturity
Milestones occurs at
Peer-Stakeholder Product
Validation Reviews (PS-PVRs)
Internal Flow
L+15 Days
External Distribution
L+78 Days
Operations Handover
L+6 Months
East/West Assignment
L+12 Months
Notes: ABI L1b requires more cal/val than previous GOES Imagers, which is why cal/val will take longer. The ABI L1b data quality could be considered analogous to MODIS.

## Slide 39: NOAA GOES Constellation
Operational
GOES-15
(135W)
GOES-13
(75W)
Operational
GOES-14
(105W)
Back-up
Notes: Template footer obscured. Fixed.
Estimate during mid-2010.

## Slide 40: NOAA GOES Constellation
Operational
GOES-15 or -14
(135W)
GOES-13 or -14
(75W)
Operational
GOES-16
(90W)
PLT/PLPT
Notes: Template footer obscured. Fixed.
Estimate during mid-2010.

## Slide 41: NOAA GOES Constellation
Operational
GOES-15 or -14
(135W)
GOES-16
(75W)
Operational
GOES-17
(90W)
PLT/PLPT
Inconsistent views wrt resolutions from East and West
Notes: Template footer obscured. Fixed.
Estimate during mid-2010.

## Slide 42: NOAA GOES Constellation
Operational
GOES-16
(137W)
GOES-13 or -14
(75W)
Operational
GOES-17
(90W)
PLT/PLPT
Inconsistent views wrt resolutions from East and West
Notes: Template footer obscured. Fixed.
Estimate during mid-2010.

## Slide 43: NOAA GOES Constellation
Operational
GOES-16 or -17
(137W)
GOES-16 or -17
(75W)
Operational
Consistent views wrt resolutions from East and West
GOES-18
(90W)
PLT/PLPT
Notes: Template footer obscured. Fixed.
Estimate during mid-2010.

## Slide 44: GOES-R as GOES West GOES-13 as GOES East Infrared Resolution color coded
GOES-R resolution is better than GOES-13 far to the east of the midpoint
(106 W) between the two sub-satellite points (all the way to ~92 W!)
Similarly, if GOES-R were GOES-East, there would be better pixel resolution
Compared to GOES-15 all the way to 120 W!
106 W

## Slide 45: GOES-R Series web site
Lockheed Martin
http://www.goes-r.gov

## Slide 46
~1 km
~6 km
Notes: ABI band 2 (0.6 micrometers) will be finer resolution than the imagery shown and the 6km may be worse since this is 6km in a Mercator.

## Slide 47
~1 km
~6 km
Notes: ABI band 2 (0.6 micrometers) will be finer resolution than the imagery shown and the 6km may be worse since this is 6km in a Mercator.