## Slide 1
Combined In-situ and Remote Sensing Atmospheric Thermodynamic Measurements at Research Sites
Lamont Ok (ARM-site)
36.6 N, 97.5 W
Yuma Arizona
32.6 N, 114.5 W
Darwin AU (ARM- site)
12.5 S, 130.9 E

## Slide 2
Objectives:
Provide time continuous atmospheric profiles at research ground sites (e.g., Universities and Climate Benchmark Stations) from the combination of model, satellite, radiosonde, and ground-based spectrometer (i.e., AERI/ASSIST) observations.
    Satellite profile retrieval validation
    Atmospheric process studies
    Climate data record`

## Slide 3
Satellite
FTS Instrumentation & Measurements
AERI (1990)
CrIS (2011)
IASI(2006)
Suomi
NPP/JPSS
CrIS
Satellite
ASSIST (2008)
Ground-based
Spectral Coverage
Wavenumber (cm-1)
Wavenumber (cm-1)

## Slide 4: Satellite and Ground-based Radiance Spectra
PBL-T
PBL
Water
Vapor
O3
O3
Sfc./Cld T
Tropospheric
Water Vapor
Profile
PBL-CO
Tropospheric
CO
T
-
P
R
O
F
I
L
e
Nevada Simultaneous Satellite (IASI) and Ground-based (ASSIST) Spectra
Simultaneous Satellite and Ground-based Radiance Spectra Enable Full Characterization of the Planetary Boundary Layer (PBL) and Free-Atmosphere (0- 40 km) for Atmospheric Compensation of Surface Background and Chemical Detection Measurements

## Slide 5
Satellite Vs. Ground-based Profile Sensitivity
CrIS/IASI
Water vapor
CrIS/IASI
Temperature
AERI/ASSIST
Water vapor
AERI/ASSIST
Temperature

## Slide 6: ASSIST Vs AERI Radiance Comparisons

## Slide 7: Observation Summary
Surface meteorological data
Aqua AIRS, SNPP CrIS, and Metop IASI hyperspectral soundings for free tropospheric soundings between radiosonde measurements
Surface Microwave Total Precipitable Water measurements for radiosonde adjustment (ARM-sites)
Radiosondes for absolute reference
ASSIST and AERI (ARM-sites) hyperspectral radiances for Planetary Boundary Layer Profiling

## Slide 8
Creating An Continuous Depiction of the Atmosphere
Interpolate Forecast/Analysis Model to 2.5 min Interval AERI/ASSIST Observation Times to provide “Model” background analysis
Interpolate differences between satellite observations and step-1 result to AERI/ASSIST Observation times
Add step-2 result to step-1 result to provide “model + satellite” background analysis
Interpolate difference between radiosonde observations and step-2 result to AERI/ASSIST observation times
Add step-4 result to step-3 result to provide “Model + Satellite + Radiosonde” background analysis
Use step-5 result as the background analysis for the 2.5 minute interval “AERI/ASSIST statistical/physical retrieval”

## Slide 9
Physical Regression (PR)
Profile Retrieval Algorithm
qret = qo + (rm-ro)C
C = (R’TR’ + λETE)-1R’TQ’
q = atmospheric profiles (temperature, water vapor, etc.)
C = statistical covariance about the initial profile qo
ro = radiance calculated from the initial profile qo
Q & R = climatological ensemble of profiles & radiance spectra
( )’ = deviation from the initial conditions qo and ro
ETE = statistical covariance of spectral radiance noise
λ = scaler determined as that value which minimizes the
RMS difference between the retrieval calculated radiance
spectrum and observed radiance spectrum

## Slide 11: Physical Correction Using Forecast Model Profile
Problem: DR method uses a statistical training data set. Imperfect skill, due to lack of vertical resolution in radiances, leads to local statistical bias.
Solution: Calculate radiances from forecast profile (FP) and perform DR retrieval using simulated “Truth” radiances. Retrieval Error = Statistical Bias.
Statistical Bias = FP – FP radiance Retrieval

## Slide 12
Impact of Bias Correction

## Slide 15
Final Retrieval Vs. Radiosonde Temperature

## Slide 16
Final Retrieval Vs. Radiosonde Relative Humidity

## Slide 17: GRASP Validation Campaign (April 20, 2012)
IASI-01:30 UT
CrIS-06:10
AIRS-07:11
IASI-15:30
CrIS-17:30
AIRS-18:17 UT
ASSIST Relative Humidity
37 N
76 W
37 N
76 W
37 N
76 W
37 N
76 W
37 N
76 W
37 N
76 W
18:48 UT
AIRS-CrIS
Moisture Change Verified
by Raob &
ASSIST
17:30 UT
Radiosonde Relative Humidity

## Slide 18: Southern Great Plains ARM CART-site
Lamont Ok
36.6 N, 97.5 W
AERI & Radiosondes

## Slide 19
AERI+ Temperature Retrieval for ARM-Site May 20 2013

## Slide 20
AERI+ Relative Humidity Retrieval for ARM-Site May 20 2013

## Slide 21
AERI+ Retrieval Vs. Radiosondes
Relative Humidity
Dependent Case: Radiosonde Used To Create Background for the AERI+ Retrieval

## Slide 22
AERI+ Retrieval Vs. Radiosondes
Temperature & Relative Humidity
Independent Case: Radiosonde Not Used in Background for the AERI+ Retrieval

## Slide 23: Validation Sites
Yuma Arizona
32.6 N, 114.5 W
ASSIST & Radiosondes

## Slide 24
Yuma AZ Example (May 20, 2013)
ASSIST
Separation=4 Km
Separation=4 Km
ASSIST
Pressure (mb)

## Slide 25: Conclusion
A continuous depiction of atmospheric structure can be derived from model, satellite, radiosonde and ground-based spectrometer data
The product can be used to validate satellite and airborne profile retrievals at measurement times which differ from traditional radiosonde observation times
Implemented at climate benchmark stations, the product would provide a diurnal variation bias-free product (i.e., independent of the local sampling times of radiosonde observations).