## Slide 1: Principles of Remote Sensing Using Ultraspectral Infrared Radiance Measurements
W. L. Smith Sr.
Hyperspectral Infrared Sciences, USA
For LRTech, Quebec Canada
Brightness Temperature/Radiance Spectrum
(Looking Up from The Ground)
Radiance (mw/(m2-str-cm-1)
Wavenumber (cm-1)
Brightness Temperature (°K)
Wavenumber (cm-1)
O3
O3
H2O
H2O
H2O
H2O
H2O
H2O
CO2
CO2
CO2
CO2
N2O
N2O
N2O
N2O
CO
CO
CH4
CH4

## Slide 2
(2006/2012) [LEO]
History of Remote Sounding

## Slide 3
Atmospheric Composition

## Slide 4: Radiative Processes
D
I
R
E
C
T

## Slide 5
Infrared Radiative Transfer
Downwelling Radiation

## Slide 6
Infrared Radiative Transfer
Downwelling Radiation

## Slide 7
Energy
Contribution
Wavelength
n3
n2
n1
Wavelength Converts to Altitude
Absorption

## Slide 8: Grating (Dispersive) Spectrometer and Fourier Transform (Interferometer) Spectrometer - Basis for Ultraspectral Sounders
FTS (Michelson Interferometer)
Source
Fixed Mirror
Moving
Mirror
Beam
Splitter
Detector
d1
d2
AIRS Dispersion (Grating)
Fourier Transform

## Slide 9
FTS – Magic Performed with Mirrors !

## Slide 10
Unique Advantages of FTS

## Slide 11
FTS Measurement to Atmospheric Variables
Michelson Interferometer (FTS)
Interferogram
Radiance Spectrum
Vertical Sounding
Source
Fixed Mirror
Moving
Mirror
Beam
Splitter
Detector
Fourier Transformation
Numerical
Inversion
d1
d2
(d2-d1)
Radiance (mw/(m2-str-cm-1)
Brightness Temperature (°K)
Wavenumber (cm-1)

## Slide 12
Satellite
FTS Instrumentation & Measurements
AERI (1990)
CrIS (2011)
IASI(2006)
Suomi
NPP/JPSS
CrIS
Satellite
ASSIST (2008)
Ground-based
Spectral Coverage
Wavenumber (cm-1)
Wavenumber (cm-1)

## Slide 13: Satellite and Ground-based Radiance Spectra
PBL-T
PBL
Water
Vapor
O3
O3
Sfc./Cld T
Tropospheric
Water Vapor
Profile
PBL-CO
Tropospheric
CO
T
-
P
R
O
F
I
L
e
Nevada Simultaneous Satellite (IASI) and Ground-based (ASSIST) Spectra
Simultaneous Satellite and Ground-based Radiance Spectra Enable Full Characterization of the Planetary Boundary Layer (PBL) and Free-Atmosphere (0- 40 km) for Atmospheric Compensation of Surface Background and Chemical Detection Measurements

## Slide 14: Satellite Ultraspectral Atmospheric Sounders
• Broad Spectral Coverage • High Spectral Resolution
• Thousands of Spectral Channels • High Information Content
A/C HIS, NAST-I & S-HIS (1985, 1998 -, 1999 - )
AIRS (2002)
CrIS (2009)
IASI (2006)
GIFTS/IRS (2017)
LWIR
MWIR

## Slide 15
IMG demonstrates interferometer capability to detect low level inversions: example over Ontario with inversion (absorption line BTs warmer) and Texas without (abs line BTs colder)
Low level inversions identified by Weak CO2 and Water lines sticking up
High Spectral Resolution Enables
Detection of Vertical Structure Features

## Slide 16
Tropopause inversion identified by Twisted Ribbon formed by CO2 spectrum
Blue between-line Tbs warmer for tropospheric channels, colder for stratospheric channels
15 m CO2 Spectrum
--tropopause--
High Spectral Resolution Enables
Detection of Vertical Structure Features

## Slide 18: Why Does Ultraspectral Resolution Provide High Vertical Resolution ? Slightly sharper weighting functions and much greater system S/N resulting from the very large number of radiance observations
 = 15.0 cm-1
Weighting
Function
Weighting
Function
Resolution
Function
Resolution
Function
 = 0.5 cm-1

## Slide 19: Retrieval Accuracy Vs Spectral Resolution (i.e., number of spectral radiance observations)
Temperature
Water Vapor
# chnls/
18/15 cm-1
800/1.2 cm-1
1600/0.6 cm-1
3200/0.3 cm-1
# chnls/
18/15 cm-1
800/1.2 cm-1
1600/0.6 cm-1
3200/0.3 cm-1
The vertical resolution and accuracy increases greatly going from multi-spectral to ultraspectral resolution. The improvement in ultraspectral performance is proportional to the square root of the number of channels (i.e., S/N)

## Slide 20: Satellite Vs Ground-based Profile Sensitivity
Satellite Information Content is High in the Free-atmosphere
Ground-based Information Content is High in the Low Atmosphere
dR/dT
dR/dT
dR/dq
dR/dq
IASI
Temperature
IASI
H2O
AERI/ASSIST
Temperature
AERI/ASSIST
H2O

## Slide 21: Forward Radiative Transfer Models
Downwelling Radiation

## Slide 22: General Types of Transmittance Models
Line – by – Line models
  Numerically integrate individual absorption lines to produce optical depth/transmittance profile as a function of wavelength
Band Models
  Fit to LBL at narrow spectral interval
Fast Models
  Statistical fit to line-by-line model transmittance for diverse atmospheres for specific instrument channel spectral response

## Slide 23: Transmission/Emission Modeling
Spectroscopic Data Base
  Absorber, line position, line strength, line half-width, etc.
Line By Line (LBL) model
  Integrates individual lines over instrument spectral response.
  Time consuming
Fast model
  Polynomial/Regression fit to LBL transmittances (RTTOVS1)
  Principle Component fit to Monocromatic Subset (PCRTM2)
1Saunders R.W., M. Matricardi and P. Brunel 1999. An Improved Fast Radiative Transfer Model for Assimilation of Satellite Radiance Observations. Quart. J. Roy. Meteorol. Soc., 125,1407–1425.
2Liu, Xu; Smith, William L.; Zhou, Daniel K. and Larar, Allen. Principal component-based radiative transfer model for hyperspectral sensors: Theoretical concept. Applied Optics, Volume 45, Issue 1, 2006, pp.201-209.

## Slide 24: Line-By-Line Radiative Transfer Model (LBLRTM)
LBLRTM (Line-By-Line Radiative Transfer Model) is an accurate line-by-line model that is efficient and highly flexible.
LBLRTM attributes provide spectral radiance calculations with accuracies consistent with the measurements against which they are validated and with computational times that greatly facilitate the application of the line-by-line approach to current radiative transfer applications.
Some important LBLRTM attributes are as follows:
Extensively validated against atmospheric radiance spectra from the ultra-violet to the sub-millimeter
HITRAN line database parameters are used including the pressure shift coefficient, the halfwidth temperature dependence and the coefficient for the self-broadening of water vapor
Computational efficiency mitigates the computational burden of the line-by-line flux and cooling rate calculation, for example linear algebraic operations are used FFT instrument function with a choice of 9 apodization functions
Includes a realistic spectral sea surface emissivity model in the infrared [Masuda, et. al., 1988, Wu and Smith, 1997]
Input atmospheric profiles in either altitude or pressure coordinates

## Slide 25
Principal References
Clough, S. A., M. W. Shephard, E. J. Mlawer, J. S. Delamere, M. J. Iacono, K. Cady-Pereira, S. Boukabara, and P. D. Brown, Atmospheric radiative transfer modeling: a summary of the AER codes, Short Communication, J. Quant. Spectrosc. Radiat. Transfer, 91, 233-244, 2005.
Clough, S.A., M.J. Iacono, and J.-L. Moncet, Line-by-line calculation of atmospheric fluxes and cooling rates:Application to water vapor.J. Geophys. Res., 97, 15761-15785, 1992.
Ground-based Validation References
Delamere, J. S., S.A. Clough, V. H. Payne, E. J. Mlawer, D. D.Turner and R. R. Gamache, A far-infrared radiative closure study in the Arctic: Application to water vapor, J. Geophys. Res., doi:10.1029/2009JD012968, 2010.
Shephard, M.W., A. Goldman, S.A. Clough, and E.J. Mlawer, Spectroscopic improvements providing evidence of formic acid in AERI-LBLRTM validation spectra, J. Quant. Spectrosc. Radiat. Transfer, 82, 383-390, 2003.
Satellite-based Validation References
Shephard, M.W., S.A. Clough, V.H. Payne, W. L. Smith, S. Kireev, and K. E. Cady-Pereira, Performance of the line-by-line radiative transfer model (LBLRTM) for temperature and species retrievals: IASI case studies from JAIVEx, Atmos. Chem. Phys. Discuss., 9, 9313-9366, 2009.

## Slide 26: ASSIST Observation vs. LBLRTM simulation
Find clear apodized ASSIST spectra around radiosondes launching time
Line-by-Line Radiative Transfer Model to simulate downwelling radiance
Input for LBLRTM:
  Radiosondes provide T/Q profile between surface and about 22 km
  RAQMS model result at 12Z and 18Z provide the profiles of O3, CH4, N2O, CO and T/Q above 22km

## Slide 27
LBLRTM Vs ASSIST Observations for April 19-21, 2012

## Slide 28
LBLRTM Vs ASSIST Observations for April 19-21, 2012

## Slide 29
LBLRTM Vs ASSIST Observations for April 19-21, 2012

## Slide 30
LBLRTM Vs ASSIST Observations for April 19-21, 2012

## Slide 31
Fast Spectral Channel Model Production Flowchart
Lineshapes
& Continua
Spectral line
parameters
Layering, l
Fast Model
Predictors, Qi
Reduce to sensor’s
spectral resolution
Fast Model
Coefficients, ci
Compute monochromatic
layer-to-space
transmittances
Convolved
Layer-to-Space
Transmittances, tz (l)
Fast Model
Regressions
Effective Layer
Optical Depths, keff
Profile
Database
Fixed Gas
Amounts

## Slide 32: Overview of Various Fast RT Models
Model Type | Characteristics | Notes
Band Model | Simple parameterization Fast | Limited accuracy Not accurate for multiple gases
Neural net | Simple Fast | Jacobian calculations? Non-physical parameterization
Correlated k Distributions (CKD) | Monochromatic (g-v mapping) Level to level k correlation is approximate Overlapping gases treatment is approximate | Not perfect for inhomogeneous path and overlapping gases
Exponential Sum Fitting Transmissions ( ESFT) | Monochromatic (select few k terms or v points) Level to level k correlation is approximate (methods exist to handle it) Overlapping gases treatment is approximate | have been extended to handle inhomogeneous path and overlapping gase (Armbrushter & Fisher 1996, Tjemkes & Schmetz 1997)
Optran, RTTOV ,SARTA,Gastropd…. | Polychromatic Smart way to treat overlapping gases Teat inhomogeneous path | Effective layer optical depth depends on layer above it
Optimal Spectral Sampling (OSS) | Monochromatic Parameterization is physical Accurate | Very good treatment of inhomogeneous path and overlapping gases
PCRTM | Fast and Accurate Physical Parameterization Requires minimum monochromatic RT calculations | Not a channel-based RTM EOF used to compress and store info Same set of predictors used for all PC scores (or superchannels)

## Slide 33: Introduction to Principal Component-based Radiative Tansfer Model (PCRTM)
33
Explore spectral correlation in hyperspectral data
  No need to calculate spectrum one channel at a time
  Compress spectra into compact form using PCA, wavelet, Fourier Series etc
  Reduce dimension of the data
PCA is a good approach for compressing spectra and capture information
  Leading EOFs captures all essential information of thousands of channels
  PCA has been used to reduce instrument noise and to compress spectra
PCRTM parameterization is physical-based fast model
  Radiative transfer done monochromatically at very few frequencies
  Very accurate relative to line-by-line (LBL) RT model ( < 0.05K or 0.05%)
  3-4 orders of magnitude faster than LBL RT models
  A factor of 2-100 times faster than channel-based RT models
  Provides Jacobian or radiative kernel needed for retrievals and climate studies
  Includes accurate cloud RT

## Slide 34: How does PCRTM work?
Flow diagram of the PCRTM forward model
Data
Input PCRTM
Parameters
(OD, PCs, cloud
Parameters, etc.)
Generate predictors by Performing mono
RT calculations
Next Profile
Channel Radiance?
Yes
No
EOF
Transformation
Calculate PC scores
and Jacobian
Regular Monochromatic RT performed
  This function can be performed by LBL, MODTRAN…
  Can use lookup table and fast parameterization if needed
RT needs to be done at minimum number of frequencies
  Orders of magnitude smaller than LBL and MODTRAN
O2 A-band (12000 mono RT calculations using LBL)
Only 7 Mono frequencies are essential when modeling at the OCO and SCIAMACHY spectral resolution

## Slide 35
Retrieval Theory

## Slide 36: Jacobian (Radiance Sensitivity)
ΔRi = Σ(dRi/dQj) ΔQj
j
Where;
Qi = Temperature, H2O, O3, CO, CH4, and
N2O concentration, and Aerosol Extinction.

## Slide 37
Shown is the radiance measurement sensitivity to atmospheric temperature, water vapor, ozone, carbon monoxide, methane nitrous, nitrous oxide, carbon dioxide, and aerosol variation for an upward looking ground based spectrometer (e.g., ASSIST) as computed using the Line-by-Line Radiative Transfer Model (LBLRTM).
The sensitivity (i.e., Jacobian) is given in terms of the change of brightness temperature per change in temperature or percent change in the gas mixing ratio or aerosol extinction coefficient, normalized to the vertical unit of 1-km.
The left-hand panel in each figure shows the spectral distribution of sensitivity for various atmospheric levels, the highest magnitude spectrum generally being that for the lowest atmospheric level (i.e., the surface).
The right hand panel shows the vertical distribution of sensitivity for all the optically active spectral channels shown in the left hand panel.
The scales of the vertical profile plots are exactly the same for all the trace gases (i.e., a maximum of 1 K/%-km) except for carbon dioxide for which the radiance sensitivity is much weaker than for the the trace gases. The vertical range is either scale is either 5-km or 20-km , depending on the atmospheric constituent.
The results generally show that the radiance measurement sensitivity to temperature and all the absorbing gases and aerosol drops off rapidly with altitude such that reliable profile and total concentration retrieval results should only be expected for the Planetary Boundary Layer (i.e., the first 1-3 km in altitude). The only exception to this rule is for ozone, nitrous oxide, and carbon monoxide where the sensitivity remains strong to altitudes of 8-km, 6-km, and 4-km, respectively.
Explanation

## Slide 38: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Temperature Jacobian
Jacobian (°K/°K-km)
Wavenumber (cm-1)
Jacobian (°K/°K-km)
Altitude (km)

## Slide 39: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Water Vapor Jacobian
Jacobian (°K/%-km)
Wavenumber (cm-1)
Jacobian (°K/%-km)
Altitude (km)

## Slide 40: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Ozone Jacobian
Jacobian (°K/%-km)
Wavenumber (cm-1)
Jacobian (°K/%-km)
Altitude (km)

## Slide 41: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Methane Jacobian
Jacobian (°K/%-km)
Wavenumber (cm-1)
Jacobian (°K/%-km)
Altitude (km)

## Slide 42: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Nitrous Oxide Jacobian
Jacobian (°K/%-km)
Wavenumber (cm-1)
Jacobian (°K/%-km)
Altitude (km)

## Slide 43: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Carbon Monoxide Jacobian
Jacobian (°K/%-km)
Wavenumber (cm-1)
Jacobian (°K/%-km)
Altitude (km)

## Slide 44: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Aerosol Jacobian
Jacobian (°K/%-km)
Wavenumber (cm-1)
Jacobian (°K/%-km)
Altitude (km)

## Slide 45: Ground-based ASSIST Retrieval Sensitivity to Trace Gases
Brightness Temperature/Carbon Dioxide Jacobian
Jacobian (°K/%-km)
Wavenumber (cm-1)
Jacobian (°K/%-km)
Altitude (km)

## Slide 46
Physical Regression (PR)
Profile Retrieval Algorithm
qret = qo + (rm-ro)C
C = (R’TR’ + λETE)-1R’TQ’
q = atmospheric profiles (temperature, water vapor, etc.)
C = statistical covariance about the initial profile qo
ro = radiance calculated from the initial profile qo
Q & R = climatological ensemble of profiles & radiance spectra
( )’ = deviation from the initial conditions qo and ro
ETE = statistical covariance of spectral radiance noise
λ = scaler determined as that value which minimizes the
RMS difference between the retrieval calculated radiance
spectrum and observed radiance spectrum

## Slide 47
ECNU Statistical Data For C-Matrix
Year 2010 Global Product
1024 Space/Time Samples/month
27 – 42 N; 110 – 125 E (1-deg Resolution)
Monthly Day 15, 0, 6 12, 18 GMT
T, H2O, O3, CO, CH4, N2O Profiles
Aerosol Extinction Profiles
CO2 uniformly mixed, randomly varied
Cloud Altitude/Optical Depth Profiles
Separated Into Monthly Sets

## Slide 48
Shown are the profile retrieval errors(mean and standard error) based on simulated ASSIST radiances with realistic random noise added.
Retrievals for atmospheric temperature, water vapor, carbon monoxide, methane, nitrous oxide, carbon dioxide, and aerosol extinction are shown.
The ASSIST radiances were simulated for a sample of 972 profiles for temperature and each gas were provided by the one degree (i.e., 111-km) spatial resolution Regional Air Quality Modeling System (RAQMS) for the US Mid-Atlantic coastal region 33 – 41 N, 73 - 81 W for the months of June, July, and August of 2010.
The temperature errors are given in K, water vapor mixing ration in g/Kg while the errors for the mixing ratio of the various trace gases and aerosol extinction are given in % of the sample mean values shown in slide 2..
The left-hand panel in each figure shows the error pertaining to profile level values while the right hand panel shows the error pertaining to the vertical column integrals extending from the surface to various atmospheric levels.
For reference, the standard deviation of the true profiles in the sample considered is also shown. Retrieval values which are equal to or greater than the standard deviation indicates no skill in retrieving that quantity from the radiance spectra.
Explanation

## Slide 49: Ground-based ASSIST Retrieval Errors – All Channels
Temperature and Water Vapor (All Channels)
Vertical Profile Level Values
Column Integrated Values

## Slide 50: Ground-based ASSIST Retrieval Errors – All Channels
Ozone and Carbon Monoxide (All Channels)
Vertical Profile Level Values
Column Integrated Values

## Slide 51: Ground-based ASSIST Retrieval Errors – All Channels
Methane and Nitrous Oxide (All Channels)
Vertical Profile Level Values
Column Integrated Values

## Slide 52: Ground-based ASSIST Retrieval Errors – All Channels
Vertical Profile Level Values
Column Integrated Values
Carbon Dioxide and Aerosol Extinction (All Channels)

## Slide 53: BIAS Corrections Using Forecast Model Profile
Problem: PR method uses a statistical training data set. Imperfect skill, due to lack of vertical resolution in radiances, leads to local bias in PR retrievals.
Solution: Calculate radiances from forecast model profile (FP) and perform PR retrieval using model radiances.
Statistical bias correction = FP – FP radiance retrieved FP
Bias
Corrected
Bias Correction removes statistical bias with respect to the model FP
RTVL
Corrected RTVL

## Slide 54: ASSIST Profile Results April 19 17 UTC – April 21, 00 UTC
Temperature ( 0 – 4 km)
Relative Humidity ( 0 – 4 km)
ASSIST - only
ASSIST w RAQMS
RAQMS

## Slide 55: ASSIST Profile Results April 19 17 UTC – April 21, 00 UTC
Ozone ( 0 – 4 km)
ASSIST - only
ASSIST w RAQMS
RAQMS
Carbon Monoxide( 0 – 4 km)

## Slide 56: ASSIST Profile Results April 19 17 UTC – April 21, 00 UTC
Methane ( 0 – 4 km)
ASSIST - only
ASSIST w RAQMS
RAQMS
Nitrous Oxide( 0 – 4 km)

## Slide 57: GRASP Validation Campaign (April 20, 2012)
IASI-01:30 UT
CrIS-06:10
AIRS-07:11
IASI-15:30
CrIS-17:30
AIRS-18:17 UT
ASSIST Relative Humidity
37 N
76 W
37 N
76 W
37 N
76 W
37 N
76 W
37 N
76 W
37 N
76 W
18:48 UT
AIRS-CrIS
Moisture Change Verified
by Raob &
ASSIST
17:30 UT
Radiosonde Relative Humidity

## Slide 58: Sounding, Window, and Cloud Spectral Radiances

## Slide 59: Accounting for the Influence of Clouds
Cloud-Clearing Partly Cloudy Measurements
  N* equation solves for clear radiance from partly clouded IFOVs
  Assumes that only the cloud fraction changes between two IFOVs
ti
t1
tj
tn
Rc(w)
Rc(w)

## Slide 60: July 6-7, 2010 CAPABLE Case Study
July 6, 2010
July 7, 2010
July 6, 2010
July 6, 2010

## Slide 61: July 6-7, 2010 CAPABLE Case Study
July 6 July 7 July 6 July 7
July 6 July 7 July 6 July 7

## Slide 62: July 6-7, 2010 CAPABLE Case Study
July 6 July 7 July 6 July 7
July 6 July 7 July 6 July 7

## Slide 63: Accounting for the Influence of Clouds
Cloud Stratification
  Stratifies C-matrix by cloud level (10- cloud levels + clear)
  Define optimal cloud-level as that one for which:
  Abs [N(w) - N(ν)] = Min for all 0 ≤ N(w) ≤ 1
  where the cloud amount N is defined as,
&
and Rcd = function [Cloud Pressure, T(p), Q(p),,,,,profile variables]
Procedure:
Calculate R(w)’s as the mean value of window radiances
Calculate R(ν)’s as the mean value between cloud channel radiances
Calculate Cloud Pressure for which Abs [N(w) - N(ν)] = Min (0 ≤ N(w) ≤ 1)
Obtain retrieval from sounding spectral radiances

## Slide 64: June 22, 2010 Cloudy Case Study

## Slide 65: June 22, 2010 Cloudy Case Study
Temperature
Mixing Ratio
Potential
Temperature
Relative
Humidity

## Slide 66
June 22, 2010 Cloudy Case Study

## Slide 67
ASSIST Retrieval Flow Chart
ASSIST Radiance
ASSIST Radiance
Profile Retrieval
NWP Profile
NWP Radiance
Clear Air
Radiance Threshold
Statistical Bias Correction
(NWP Profile – NWP Retrieval)
( If Internet Available )
Clear Column
Radiance
NWP Radiance
Profile Retrieval
Cloud Class
Determination
ASSIST Final
Profile Retrieval
RAQMS Regression
Statistics

## Slide 68: Quebec Retrieval Results (29 February, 2012) W. L. Smith Sr.
Shown are the results of tests of the ECNU retrieval Software using the radiance spectra collected from the ECNU ASSIST-II instrument
In each figure the
Upper Left panel shows the ASSIST-II retrieval without using any ancillary analysis data to correct for statistical bias
Upper Right panel shows the hourly high spatial resolution (1-degree) Rapid Update Cycle (RUC) forecast analysis of balloon-sonde data considered to be a rough estimation of “Truth”
Lower Left panel shows the ASSIST-II retrieval using an analysis of radiosonde data data to correct for statistical bias
Lower Right panel panel shows the RUC simulated radiance retrieval without using any ancillary analysis data to correct for statistical bias

## Slide 69
Temperature
ASSIST
RUC (“Truth”)
RUC Radiance Retrieval
ASSIST (RUC BIAS Correction)

## Slide 70
Potential Temperature
ASSIST
RUC
RUC Radiance Retrieval
ASSIST (RUC BIAS Correction)

## Slide 71
Water Vapor Mixing Ratio
ASSIST
RUC
RUC Radiance Retrieval
ASSIST (RUC BIAS Correction)

## Slide 72
RUC “Truth”
RUC Radiance Retrieval
ASSIST (RUC BIAS Correction)
ASSIST
Relative Humidity

## Slide 73: Quebec Retrieval Results Summary (29 February, 2012)
The results show excellent correspondence between the ASSIST-only retrievals ( shown in the upper left hand panels) and our best estimate of “truth” (shown in the upper right hand panels).
The finer scale structure shown in the ASSIST cross-sections indicate that finer scale boundary layer structure than can be obtained by the hourly RUC is being observed with the ASSIST.
The use of a forecast model to correct the ASSIST retrievals for statistical bias does not seem to improve the accuracy of the ASSIST retrievals.
The retrievals from error-free ASSIST radiances simulated from the RUC analyses do not seem to possess any higher accuracy than those retrievals obtained from actual ASSIST data.
Next I will validate the accuracy of the GHG retrievals using the Real-time Air Quality Modelling System (RAQMS) data collected for the Quebec region.

## Slide 74: Quebec City Retrieval Results (29 February, 2012)
Shown are the results of tests of the ECNU retrieval software using the radiance spectra collected from the ECNU ASSIST-II instrument
Left panel shows the ASSIST-II retrieval without using any ancillary analysis data to correct for statistical bias
Right panel shows the hourly high spatial resolution hourly Rapid Update Cycle (RUC) forecast analysis of balloon-sonde data (T & H2O) or Real-time Air Quality Modeling System (RAQMS) 18 UTC forecast of trace gas (O3,CO, CH4, N2O) Concentrations
* The RAQMS data was kindly provided by Bradley Pierce (NOAA/NESDIS)

## Slide 75
Temperature & Potential Temperature
ASSIST
RUC
ASSIST
RUC

## Slide 76
Mixing Ratio & Relative Humidity
ASSIST
RUC
RUC
ASSIST

## Slide 77
O3 and CO
ASSIST O3
ASSIST CO
RAQMS O3
RAQMS CO

## Slide 78
CH4 and N2O
ASSIST CH4
ASSIST N2O
RAQMS CH4
RAQMS N2O

## Slide 79: Quebec City Retrieval Results Summary (29 February, 2012)
The results show good correspondence between the ASSIST-only retrievals ( shown in left hand panels) and our best estimate of “truth” (shown in the right hand panels).
The cross-section comparisons indicate that finer scale boundary layer structure is being observed with the ASSIST than can be obtained by hourly RUC or six hourly RAQMS forecast.

## Slide 80: Primary Program Options
PC Noise Filter Noise filter input rdiance spectra(On/Off)
Cloud Window Number of spectra used to define clear threshold (30)
Error Factor Assumed percent radiance error for regression (0.5)
Radiance Noise Assumed radiance noise used for PC filter (0.2)
Internet Availability Yes No
Cloud Condition Clear-Broken Overcast Clear-Broken Overcast
Cloud Filter Yes No Yes No
NWP1 For Cloud No Yes No No
NWP Bias Correction Yes Yes No No
Iteration Limit 1 1 2-5 2-5
1 RAQMS (Includes Chemistry) should be used if available
Secondary Program Options

## Slide 81: References
Smith, W. L., E. Weisz, S. Kireev, D. Zhou, Z. Li, E. Borbas, “Dual-Regression Retrieval Algorithm For Real-time Processing of Satellite Ultraspectral Radiances” AMS Journal of Applied Meteorology and Climatology Journal of Applied Meteorology and Climatology 2012
W. L. Smith Sr., H. Revercomb, G. Bingham, A. Larar, H. Huang, D. Zhou, J. Li, X. Liu, and S. Kireev. Evolution, current capabilities, and future advances in satellite ultra-spectral IR sounding Atmos. Chem. Phys. 9, 6541-6569, 2009
Eyre, J. R., and H. M. Woolf, 1988: Transmittance of atmospheric gasses in the microwave region: a fast model. Applied Optics. 27, 3244-3249.
Clough, S. A., M. W. Shephard, E. J. Mlawer, J. S. Delamere, M. J. Iacono, K. Cady-Pereira, S. Boukabara, and P. D. Brown, Atmospheric radiative transfer modeling: a summary of the AER codes, Short Communication, J. Quant. Spectrosc. Radiat. Transfer, 91, 233-244, 2005.
Pierce, R. B., et al. (2003), Regional Air Quality Modeling System (RAQMS) predictions of the tropospheric ozone budget over east Asia, J. Geophys. Res., 108(D21), 8825, doi:10.1029/2002JD003176.